## Data
Time | Serial Time | Cosine of Solar Zenith Angle | Thin Cell Solar Panel Energy Generation in 15 minutes (kwH) | Monocrystalline Solar Panel Energy Generation in 15 minutes (kwH) | Polycrystalline Solar Panel Energy Generation in 15 minutes (kwH) | Average Power Thin Cell (W/m^2) | Average Power Monocrystalline (W/m^2) | Average Power Polycrystalline (W/m^2) | Thin Efficiency | Mono Efficiency | Poly Efficiency | Total Irradiance at all wavelengths (Watts/meters^2) | Total Irradiance at 414 nm ((Watts/meters^2)/nm) | Total Irradiance at 496 nm ((Watts/meters^2)/nm) | Total Irradiance at 613 nm ((Watts/meters^2)/nm) | Total Irradiance at 670 nm ((Watts/meters^2)/nm) | Total Irradiance at 869 nm ((Watts/meters^2)/nm) | Total Irradiance at 937 nm ((Watts/meters^2)/nm) | Diffuse Irradiance at all wavelengths ((Watts/meters^2)/nm) | Diffuse Irradiance at 414 nm ((Watts/meters^2)/nm) | Diffuse Irradiance at 496 nm ((Watts/meters^2)/nm) | Diffuse Irradiance at 613 nm ((Watts/meters^2)/nm) | Diffuse Irradiance at 670 nm ((Watts/meters^2)/nm) | Diffuse Irradiance at 869 nm ((Watts/meters^2)/nm) | Diffuse Irradiance at 937 nm ((Watts/meters^2)/nm) | Direct Irradiance at all wavelengths (W/m^2) | Direct Irradiance at 414 nm ((Watts/meters^2)/nm) | Direct Irradiance at 496 nm ((Watts/meters^2)/nm) | Direct Irradiance at 613 nm ((Watts/meters^2)/nm) | Direct Irradiance at 670 nm ((Watts/meters^2)/nm) | Direct Irradiance at 869 nm ((Watts/meters^2)/nm) | Direct Irradiance at 937 nm ((Watts/meters^2)/nm) | Diffuse/Total Irradiance (Average) | Diffuse/Total Irradiance at 414 nm | Diffuse/Total Irradiance at 496 nm | Diffuse/Total Irradiance at 613 nm | Diffuse/Total Irradiance at 670 nm | Diffuse/Total Irradiance at 670 nm | Diffuse/Total Irradiance at 937 nm | Cumulative Available kwH/m^2
0:00 | 42070 | -0.7395 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
0:15 | 42070.0104 | -0.73904 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
0:30 | 42070.0208 | -0.7357 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
0:45 | 42070.0312 | -0.72951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
1:00 | 42070.0417 | -0.72049 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
1:15 | 42070.0521 | -0.70868 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
1:30 | 42070.0625 | -0.69412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
1:45 | 42070.0729 | -0.67689 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
2:00 | 42070.0833 | -0.65705 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
2:15 | 42070.0937 | -0.63469 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
2:30 | 42070.1042 | -0.6099 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
2:45 | 42070.1146 | -0.58279 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
3:00 | 42070.125 | -0.55348 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
3:15 | 42070.1354 | -0.52209 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
3:30 | 42070.1458 | -0.48875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
3:45 | 42070.1562 | -0.45362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
4:00 | 42070.1667 | -0.41683 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
4:15 | 42070.1771 | -0.37855 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
4:30 | 42070.1875 | -0.33893 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
4:45 | 42070.1979 | -0.29816 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
5:00 | 42070.2083 | -0.2564 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
5:15 | 42070.2187 | -0.21383 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
5:30 | 42070.2292 | -0.17064 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
5:45 | 42070.2396 | -0.127 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
6:00 | 42070.25 | -0.08311 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
6:15 | 42070.2604 | -0.03915 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
6:30 | 42070.2708 | 0.01353 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
6:45 | 42070.2812 | 0.05251 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
7:00 | 42070.2917 | 0.09392 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25.4162 | 0.0291 | 0.0353 | 0.0245 | 0.0347 | 0.0312 | 0.0023 | 18.2984 | 0.0291 | 0.0353 | 0.021 | 0.0265 | 0.0186 | 0.002 | 12.7298 | 0 | 0 | 0.0061705 | 0.014821 | 0.023189 | 0.00053534 | 0.71995 | 1 | 1 | 0.85714 | 0.76369 | 0.59615 | 0.86957 | 0.0037
7:15 | 42070.3021 | 0.1355 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 51.3359 | 0.0508 | 0.0684 | 0.0556 | 0.0699 | 0.0601 | 0.0051 | 29.2635 | 0.0503 | 0.0592 | 0.0375 | 0.0406 | 0.0262 | 0.0029 | 31.8408 | 0.00082655 | 0.01313 | 0.026721 | 0.042737 | 0.049539 | 0.0030488 | 0.57004 | 0.99016 | 0.8655 | 0.67446 | 0.58083 | 0.43594 | 0.56863 | 0.013
7:30 | 42070.3125 | 0.17655 | 0 | 0.0058594 | 0.011719 | 0 | 1.0763 | 2.1527 | 0 | 13.6419 | 27.2839 | 82.4419 | 0.0789 | 0.1098 | 0.0964 | 0.1157 | 0.0943 | 0.0096 | 38.1034 | 0.0729 | 0.0817 | 0.0498 | 0.0529 | 0.0324 | 0.0039 | 57.7673 | 0.0079448 | 0.037023 | 0.061069 | 0.082414 | 0.081195 | 0.0074328 | 0.46218 | 0.92395 | 0.74408 | 0.5166 | 0.45722 | 0.34358 | 0.40625 | 0.0302
7:45 | 42070.3229 | 0.21672 | 0.0043945 | 0.010742 | 0.027344 | 0.8138 | 1.9733 | 5.023 | 7.3848 | 17.9066 | 45.5804 | 116.9903 | 0.1102 | 0.1566 | 0.1436 | 0.1623 | 0.1266 | 0.0164 | 46.1998 | 0.0934 | 0.1 | 0.0635 | 0.0619 | 0.0362 | 0.0052 | 86.8935 | 0.020762 | 0.070044 | 0.098933 | 0.12399 | 0.11152 | 0.013935 | 0.3949 | 0.84755 | 0.63857 | 0.4422 | 0.38139 | 0.28594 | 0.31707 | 0.0556
8:00 | 42070.3333 | 0.25577 | 0.0087891 | 0.016602 | 0.056641 | 1.6276 | 3.0497 | 10.4047 | 10.9456 | 20.5088 | 69.9711 | 151.3456 | 0.1487 | 0.2121 | 0.1937 | 0.2123 | 0.1581 | 0.025 | 47.8038 | 0.1112 | 0.1113 | 0.0662 | 0.0619 | 0.0338 | 0.0059 | 122.1935 | 0.044325 | 0.11952 | 0.15101 | 0.17835 | 0.14737 | 0.022636 | 0.31586 | 0.74781 | 0.52475 | 0.34177 | 0.29157 | 0.21379 | 0.236 | 0.0894
8:15 | 42070.3437 | 0.29349 | 0.012207 | 0.022461 | 0.084961 | 2.2606 | 4.126 | 15.6071 | 12.095 | 22.076 | 83.5049 | 187.1238 | 0.1869 | 0.2645 | 0.2426 | 0.2599 | 0.1898 | 0.0344 | 55.7231 | 0.1297 | 0.1267 | 0.0772 | 0.0702 | 0.0391 | 0.0072 | 150.7753 | 0.065712 | 0.15872 | 0.19039 | 0.21842 | 0.17363 | 0.031403 | 0.29779 | 0.69395 | 0.47902 | 0.31822 | 0.2701 | 0.20601 | 0.2093 | 0.1322
8:30 | 42070.3542 | 0.32971 | 0.022949 | 0.069336 | 0.11426 | 4.2499 | 12.7368 | 20.9888 | 18.7714 | 56.2579 | 92.7067 | 222.1262 | 0.2264 | 0.3186 | 0.2906 | 0.3063 | 0.2193 | 0.0446 | 58.6564 | 0.1427 | 0.1352 | 0.0799 | 0.0721 | 0.0386 | 0.0079 | 183.6387 | 0.094363 | 0.20679 | 0.23726 | 0.2638 | 0.20356 | 0.041379 | 0.26407 | 0.6303 | 0.42436 | 0.27495 | 0.23539 | 0.17601 | 0.17713 | 0.1835
8:45 | 42070.3646 | 0.36368 | 0.038086 | 0.10449 | 0.14062 | 7.053 | 19.1949 | 25.8324 | 26.7157 | 72.7079 | 97.8499 | 255.328 | 0.264 | 0.3678 | 0.3358 | 0.3481 | 0.2466 | 0.0558 | 61.8868 | 0.1537 | 0.1422 | 0.0841 | 0.0741 | 0.0396 | 0.0089 | 213.3694 | 0.12216 | 0.24959 | 0.27862 | 0.30302 | 0.22894 | 0.051861 | 0.24238 | 0.5822 | 0.38662 | 0.25045 | 0.21287 | 0.16058 | 0.1595 | 0.2433
9:00 | 42070.375 | 0.39647 | 0.053711 | 0.1123 | 0.16211 | 9.9465 | 20.63 | 29.779 | 33.0777 | 68.6067 | 99.0322 | 285.4577 | 0.3007 | 0.4159 | 0.3786 | 0.3895 | 0.2725 | 0.0669 | 62.0738 | 0.1633 | 0.1478 | 0.0854 | 0.0754 | 0.0386 | 0.0091 | 243.5194 | 0.1501 | 0.29283 | 0.32047 | 0.3433 | 0.25556 | 0.063158 | 0.21745 | 0.54307 | 0.35537 | 0.22557 | 0.19358 | 0.14165 | 0.13602 | 0.3108
9:15 | 42070.3854 | 0.42728 | 0.072266 | 0.1377 | 0.19727 | 13.3825 | 25.2942 | 36.2371 | 39.3604 | 74.3947 | 106.5797 | 318.1353 | 0.34 | 0.4662 | 0.4245 | 0.4318 | 0.3 | 0.0789 | 62.2766 | 0.1701 | 0.1492 | 0.0854 | 0.0741 | 0.0377 | 0.0094 | 275.736 | 0.18356 | 0.34217 | 0.36614 | 0.3863 | 0.28324 | 0.075073 | 0.19576 | 0.50029 | 0.32003 | 0.20118 | 0.17161 | 0.12567 | 0.11914 | 0.3867
9:30 | 42070.3958 | 0.45597 | 0.091797 | 0.19043 | 0.22168 | 16.9994 | 34.9813 | 40.7219 | 45.1992 | 93.0108 | 108.2741 | 347.2776 | 0.3761 | 0.5126 | 0.4653 | 0.4701 | 0.3234 | 0.0899 | 59.5586 | 0.1728 | 0.1478 | 0.0813 | 0.0696 | 0.0343 | 0.0086 | 307.0357 | 0.21727 | 0.38981 | 0.41024 | 0.42806 | 0.30906 | 0.086817 | 0.1715 | 0.45945 | 0.28833 | 0.17473 | 0.14805 | 0.10606 | 0.095662 | 0.4702
9:45 | 42070.4062 | 0.48241 | 0.10986 | 0.21191 | 0.24219 | 20.3451 | 38.928 | 44.4891 | 49.1902 | 94.1198 | 107.5655 | 378.167 | 0.4136 | 0.5586 | 0.5081 | 0.509 | 0.3481 | 0.1014 | 61.4419 | 0.1776 | 0.1478 | 0.0827 | 0.0689 | 0.0338 | 0.0089 | 335.0898 | 0.25003 | 0.43533 | 0.45091 | 0.46625 | 0.33306 | 0.098026 | 0.16247 | 0.4294 | 0.26459 | 0.16276 | 0.13536 | 0.097099 | 0.087771 | 0.5612
10:00 | 42070.4167 | 0.50651 | 0.11328 | 0.24121 | 0.26465 | 20.978 | 44.3097 | 48.6151 | 47.2052 | 99.7068 | 109.3949 | 403.745 | 0.4444 | 0.5994 | 0.5416 | 0.5422 | 0.3693 | 0.1108 | 62.0235 | 0.1811 | 0.1506 | 0.0813 | 0.0689 | 0.0338 | 0.0091 | 358.7858 | 0.27691 | 0.47166 | 0.48417 | 0.4976 | 0.35263 | 0.10687 | 0.15362 | 0.40752 | 0.25125 | 0.15011 | 0.12707 | 0.091525 | 0.08213 | 0.659
10:15 | 42070.4271 | 0.52815 | 0.12695 | 0.27051 | 0.28613 | 23.5098 | 49.6914 | 52.5617 | 49.5988 | 104.8343 | 110.8897 | 427.8007 | 0.474 | 0.6359 | 0.5755 | 0.5737 | 0.3894 | 0.1199 | 62.9293 | 0.1865 | 0.1548 | 0.0841 | 0.0709 | 0.0343 | 0.0094 | 380.4561 | 0.30009 | 0.50222 | 0.51315 | 0.52493 | 0.37066 | 0.1153 | 0.1471 | 0.39346 | 0.24343 | 0.14613 | 0.12358 | 0.088084 | 0.078399 | 0.7632
10:30 | 42070.4375 | 0.54724 | 0.14014 | 0.28613 | 0.30469 | 25.9512 | 52.5617 | 55.9701 | 51.6545 | 104.6212 | 111.4056 | 450.4279 | 0.5024 | 0.6711 | 0.6077 | 0.603 | 0.4078 | 0.1283 | 63.328 | 0.19 | 0.1548 | 0.0854 | 0.0709 | 0.0338 | 0.0094 | 401.0879 | 0.32408 | 0.53536 | 0.54166 | 0.55173 | 0.38794 | 0.12329 | 0.1406 | 0.37818 | 0.23067 | 0.14053 | 0.11758 | 0.082884 | 0.073266 | 0.8731
10:45 | 42070.4479 | 0.5637 | 0.15283 | 0.30664 | 0.31641 | 28.3022 | 56.3289 | 58.1228 | 53.8577 | 107.1911 | 110.6048 | 469.7311 | 0.5255 | 0.7002 | 0.6327 | 0.6276 | 0.4235 | 0.1362 | 64.231 | 0.1941 | 0.159 | 0.0854 | 0.0721 | 0.0343 | 0.0096 | 417.6921 | 0.34171 | 0.55778 | 0.56415 | 0.57249 | 0.40113 | 0.13044 | 0.13674 | 0.36936 | 0.22708 | 0.13498 | 0.11488 | 0.080992 | 0.070485 | 0.9886
11:00 | 42070.4583 | 0.57746 | 0.16211 | 0.31836 | 0.33105 | 30.0203 | 58.4816 | 60.8137 | 54.9822 | 107.1092 | 111.3804 | 486.3048 | 0.546 | 0.7262 | 0.6567 | 0.6494 | 0.4376 | 0.1422 | 65.8769 | 0.1989 | 0.1633 | 0.0895 | 0.0747 | 0.0358 | 0.0104 | 430.6849 | 0.356 | 0.57711 | 0.58144 | 0.58907 | 0.4119 | 0.13507 | 0.13546 | 0.36429 | 0.22487 | 0.13629 | 0.11503 | 0.08181 | 0.073136 | 1.1087
11:15 | 42070.4687 | 0.58847 | 0.16602 | 0.32715 | 0.34473 | 30.7436 | 60.0962 | 63.3252 | 54.0975 | 105.7472 | 111.4292 | 502.6345 | 0.5683 | 0.754 | 0.6797 | 0.67 | 0.45 | 0.1464 | 68.1255 | 0.2009 | 0.1661 | 0.0923 | 0.076 | 0.0367 | 0.0104 | 442.787 | 0.37468 | 0.59965 | 0.59877 | 0.60559 | 0.42129 | 0.13864 | 0.13554 | 0.35351 | 0.22029 | 0.1358 | 0.11343 | 0.081556 | 0.071038 | 1.2324
11:30 | 42070.4792 | 0.59666 | 0.1709 | 0.34961 | 0.34668 | 31.6479 | 64.2222 | 63.684 | 54.3965 | 110.3853 | 109.4603 | 514.0366 | 0.5818 | 0.7698 | 0.6944 | 0.6835 | 0.4587 | 0.1509 | 68.5963 | 0.2009 | 0.1647 | 0.0895 | 0.0747 | 0.0362 | 0.0104 | 451.6395 | 0.3864 | 0.61366 | 0.61349 | 0.61748 | 0.42846 | 0.14254 | 0.13345 | 0.34531 | 0.21395 | 0.12889 | 0.10929 | 0.078919 | 0.06892 | 1.3598
11:45 | 42070.4896 | 0.60202 | 0.18115 | 0.36914 | 0.35449 | 33.5467 | 67.81 | 65.1191 | 56.6572 | 114.5246 | 109.9799 | 522.6516 | 0.5921 | 0.7821 | 0.705 | 0.6936 | 0.4655 | 0.1543 | 69.4498 | 0.2016 | 0.1647 | 0.0895 | 0.0747 | 0.0367 | 0.0106 | 457.2683 | 0.39402 | 0.62321 | 0.62104 | 0.62472 | 0.43273 | 0.14503 | 0.13288 | 0.34048 | 0.21059 | 0.12695 | 0.1077 | 0.07884 | 0.068697 | 1.4895
12:00 | 42070.5 | 0.60451 | 0.1748 | 0.38477 | 0.36035 | 32.3712 | 70.6803 | 66.1955 | 53.577 | 116.9816 | 109.5589 | 529.0589 | 0.6042 | 0.7947 | 0.7156 | 0.7041 | 0.471 | 0.1562 | 68.1616 | 0.2009 | 0.1605 | 0.0882 | 0.0747 | 0.0367 | 0.0106 | 462.8026 | 0.40496 | 0.63703 | 0.6302 | 0.63202 | 0.43615 | 0.14623 | 0.12884 | 0.33251 | 0.20196 | 0.12325 | 0.10609 | 0.077919 | 0.067862 | 1.6211
12:15 | 42070.5104 | 0.60412 | 0.1748 | 0.3877 | 0.36523 | 32.3712 | 71.2184 | 67.0924 | 53.515 | 117.7359 | 110.9149 | 530.0799 | 0.6049 | 0.7965 | 0.7163 | 0.705 | 0.4718 | 0.1595 | 67.7953 | 0.1995 | 0.1605 | 0.0882 | 0.0741 | 0.0372 | 0.0111 | 461.9844 | 0.40512 | 0.63559 | 0.62798 | 0.63058 | 0.4343 | 0.14825 | 0.1279 | 0.32981 | 0.20151 | 0.12313 | 0.10511 | 0.078847 | 0.069592 | 1.7532
12:30 | 42070.5208 | 0.60087 | 0.18506 | 0.39453 | 0.2959 | 34.2701 | 72.4742 | 54.3556 | 56.6542 | 119.8118 | 89.8589 | 529.7816 | 0.6049 | 0.7972 | 0.717 | 0.7053 | 0.4721 | 0.157 | 68.1292 | 0.1989 | 0.1605 | 0.0882 | 0.0747 | 0.0372 | 0.0109 | 459.1612 | 0.40384 | 0.63302 | 0.62539 | 0.62719 | 0.43251 | 0.14529 | 0.1286 | 0.32881 | 0.20133 | 0.12301 | 0.10591 | 0.078797 | 0.069427 | 1.8855
12:45 | 42070.5312 | 0.59476 | 0.19434 | 0.38672 | 0.35938 | 35.9881 | 71.039 | 66.0161 | 59.2105 | 116.879 | 108.6148 | 532.2601 | 0.6078 | 0.8007 | 0.7194 | 0.7074 | 0.4726 | 0.1591 | 68.043 | 0.1975 | 0.1576 | 0.0854 | 0.0721 | 0.0362 | 0.0109 | 459.493 | 0.40616 | 0.63639 | 0.62741 | 0.6286 | 0.4318 | 0.14667 | 0.12784 | 0.32494 | 0.19683 | 0.11871 | 0.10192 | 0.076598 | 0.06851 | 2.0183
13:00 | 42070.5417 | 0.58581 | 0.19482 | 0.38379 | 0.34766 | 36.0786 | 70.5009 | 63.8634 | 59.4277 | 116.1273 | 105.1942 | 529.3621 | 0.6071 | 0.7976 | 0.7149 | 0.7036 | 0.4697 | 0.1584 | 66.3013 | 0.1927 | 0.152 | 0.0827 | 0.0696 | 0.0358 | 0.0109 | 456.0915 | 0.40796 | 0.63549 | 0.62236 | 0.62424 | 0.42723 | 0.14522 | 0.12525 | 0.31741 | 0.19057 | 0.11568 | 0.09892 | 0.076219 | 0.068813 | 2.1504
13:15 | 42070.5521 | 0.57407 | 0.18799 | 0.375 | 0.34473 | 34.8126 | 68.8863 | 63.3252 | 58.2931 | 115.3489 | 106.0368 | 520.5171 | 0.5972 | 0.7853 | 0.7036 | 0.693 | 0.4628 | 0.1548 | 64.1773 | 0.1893 | 0.1492 | 0.0799 | 0.067 | 0.0338 | 0.0101 | 447.1896 | 0.39961 | 0.62315 | 0.61087 | 0.61305 | 0.42005 | 0.14174 | 0.1233 | 0.31698 | 0.18999 | 0.11356 | 0.096681 | 0.073034 | 0.065245 | 2.2817
13:30 | 42070.5625 | 0.55959 | 0.18604 | 0.37695 | 0.34668 | 34.451 | 69.2451 | 63.684 | 58.9207 | 118.4285 | 108.9174 | 508.1908 | 0.5847 | 0.7677 | 0.6875 | 0.6779 | 0.4529 | 0.1513 | 63.8424 | 0.1879 | 0.1478 | 0.0799 | 0.0676 | 0.0348 | 0.0104 | 433.1344 | 0.38662 | 0.60385 | 0.59205 | 0.59451 | 0.40733 | 0.13727 | 0.12563 | 0.32136 | 0.19252 | 0.11622 | 0.09972 | 0.076838 | 0.068738 | 2.4101
13:45 | 42070.5729 | 0.54243 | 0.18799 | 0.36621 | 0.33984 | 34.8126 | 67.2718 | 62.4282 | 62.6352 | 121.036 | 112.3214 | 489.1415 | 0.5558 | 0.7354 | 0.6598 | 0.6526 | 0.4374 | 0.1431 | 65.2331 | 0.1872 | 0.1492 | 0.0813 | 0.0689 | 0.0353 | 0.0104 | 410.9043 | 0.35703 | 0.56782 | 0.56049 | 0.56548 | 0.38952 | 0.12856 | 0.13336 | 0.33681 | 0.20288 | 0.12322 | 0.10558 | 0.080704 | 0.072676 | 2.5348
14:00 | 42070.5833 | 0.52266 | 0.18604 | 0.35156 | 0.32129 | 34.451 | 64.5809 | 59.0198 | 64.0114 | 119.9943 | 109.6615 | 472.1571 | 0.5382 | 0.7125 | 0.6382 | 0.633 | 0.4248 | 0.1357 | 63.4075 | 0.1852 | 0.1478 | 0.0799 | 0.0683 | 0.0353 | 0.0101 | 393.8485 | 0.33983 | 0.54362 | 0.5374 | 0.54362 | 0.37501 | 0.12084 | 0.13429 | 0.34411 | 0.20744 | 0.1252 | 0.1079 | 0.083098 | 0.074429 | 2.6548
14:15 | 42070.5937 | 0.50037 | 0.17969 | 0.33789 | 0.29492 | 33.2755 | 62.0695 | 54.1762 | 65.0165 | 121.2768 | 105.8543 | 452.116 | 0.5118 | 0.6805 | 0.6095 | 0.6071 | 0.4082 | 0.1277 | 62.4998 | 0.1811 | 0.145 | 0.0772 | 0.067 | 0.0343 | 0.0099 | 372.996 | 0.31633 | 0.51218 | 0.50913 | 0.51658 | 0.35756 | 0.11258 | 0.13824 | 0.35385 | 0.21308 | 0.12666 | 0.11036 | 0.084027 | 0.077525 | 2.7701
14:30 | 42070.6042 | 0.47565 | 0.17627 | 0.3252 | 0.30957 | 32.6425 | 59.7374 | 56.8671 | 67.3041 | 123.1698 | 117.2518 | 429.9668 | 0.485 | 0.6465 | 0.5793 | 0.5785 | 0.3898 | 0.1183 | 61.0518 | 0.1763 | 0.1408 | 0.0758 | 0.0644 | 0.0329 | 0.0091 | 350.6859 | 0.29305 | 0.48003 | 0.47798 | 0.48806 | 0.3389 | 0.1036 | 0.14199 | 0.36351 | 0.21779 | 0.13085 | 0.11132 | 0.084402 | 0.076923 | 2.8801
14:45 | 42070.6146 | 0.44862 | 0.15674 | 0.28418 | 0.26855 | 29.0256 | 52.2029 | 49.3327 | 63.8346 | 114.8074 | 108.495 | 405.1698 | 0.4547 | 0.6081 | 0.5475 | 0.5475 | 0.3701 | 0.1092 | 57.7575 | 0.1715 | 0.1366 | 0.0731 | 0.0612 | 0.031 | 0.0084 | 327.6645 | 0.26675 | 0.44409 | 0.44665 | 0.458 | 0.31942 | 0.094928 | 0.14255 | 0.37717 | 0.22463 | 0.13352 | 0.11178 | 0.083761 | 0.076923 | 2.9841
15:00 | 42070.625 | 0.41937 | 0.16406 | 0.30566 | 0.2832 | 30.3819 | 56.1495 | 52.0235 | 71.9099 | 132.8983 | 123.1326 | 379.0262 | 0.4225 | 0.5681 | 0.5098 | 0.5135 | 0.348 | 0.1015 | 55.059 | 0.166 | 0.1323 | 0.069 | 0.0586 | 0.0295 | 0.0079 | 302.8445 | 0.23946 | 0.40671 | 0.41149 | 0.42444 | 0.29725 | 0.087355 | 0.14526 | 0.3929 | 0.23288 | 0.13535 | 0.11412 | 0.08477 | 0.077833 | 3.0818
15:15 | 42070.6354 | 0.38805 | 0.14014 | 0.26562 | 0.24805 | 25.9512 | 48.7945 | 45.5654 | 67.6166 | 127.1352 | 118.7218 | 349.0393 | 0.3838 | 0.5199 | 0.4666 | 0.4734 | 0.3232 | 0.0914 | 52.7498 | 0.1598 | 0.1281 | 0.0662 | 0.0561 | 0.0281 | 0.0074 | 274.1562 | 0.20695 | 0.36174 | 0.36973 | 0.38545 | 0.27249 | 0.077532 | 0.15113 | 0.41636 | 0.24639 | 0.14188 | 0.1185 | 0.086943 | 0.080963 | 3.1726
15:30 | 42070.6458 | 0.35479 | 0.125 | 0.24023 | 0.21289 | 23.1481 | 44.1303 | 39.1073 | 67.3303 | 128.3604 | 113.7503 | 315.7606 | 0.3438 | 0.469 | 0.4218 | 0.4308 | 0.2961 | 0.0789 | 51.3686 | 0.1537 | 0.1253 | 0.0649 | 0.0554 | 0.0281 | 0.0072 | 241.7261 | 0.17339 | 0.31353 | 0.32566 | 0.34248 | 0.24441 | 0.065423 | 0.16268 | 0.44706 | 0.26716 | 0.15386 | 0.1286 | 0.0949 | 0.091255 | 3.2556
15:45 | 42070.6562 | 0.32041 | 0.11279 | 0.20703 | 0.19336 | 20.8876 | 38.031 | 35.5195 | 68.3494 | 124.447 | 116.2288 | 283.7938 | 0.3056 | 0.4205 | 0.3786 | 0.3902 | 0.2698 | 0.0669 | 49.5683 | 0.1468 | 0.1211 | 0.0635 | 0.0541 | 0.0272 | 0.0064 | 211.5271 | 0.14303 | 0.26975 | 0.28401 | 0.30272 | 0.21855 | 0.05447 | 0.17466 | 0.48037 | 0.28799 | 0.16772 | 0.13865 | 0.10082 | 0.095665 | 3.3302
16:00 | 42070.6667 | 0.28382 | 0.099121 | 0.1748 | 0.11816 | 18.3558 | 32.1111 | 21.7064 | 68.7997 | 120.3564 | 81.3582 | 252.0935 | 0.2668 | 0.3699 | 0.3337 | 0.3473 | 0.2421 | 0.0566 | 46.8521 | 0.1373 | 0.1141 | 0.0594 | 0.0503 | 0.0248 | 0.0059 | 181.8008 | 0.11446 | 0.22609 | 0.24233 | 0.26225 | 0.19192 | 0.04473 | 0.18585 | 0.51462 | 0.30846 | 0.178 | 0.14483 | 0.10244 | 0.10424 | 3.3966
16:15 | 42070.6771 | 0.24577 | 0.083008 | 0.14258 | 0.10156 | 15.3718 | 26.1912 | 18.6567 | 67.8967 | 115.6853 | 82.406 | 216.0553 | 0.2264 | 0.3168 | 0.2858 | 0.3013 | 0.2125 | 0.045 | 43.2572 | 0.1277 | 0.1084 | 0.0566 | 0.0484 | 0.0238 | 0.0052 | 149.6315 | 0.085233 | 0.17981 | 0.19765 | 0.21829 | 0.16285 | 0.034359 | 0.20021 | 0.56405 | 0.34217 | 0.19804 | 0.16064 | 0.112 | 0.11556 | 3.4546
16:30 | 42070.6875 | 0.20645 | 0.067871 | 0.11523 | 0.092773 | 12.5687 | 21.1682 | 17.0422 | 67.6465 | 113.93 | 91.7233 | 179.3104 | 0.1858 | 0.2613 | 0.2361 | 0.2526 | 0.1805 | 0.0339 | 39.1694 | 0.116 | 0.1 | 0.0525 | 0.0451 | 0.0219 | 0.0044 | 117.719 | 0.058343 | 0.135 | 0.1535 | 0.1736 | 0.13262 | 0.024629 | 0.21844 | 0.62433 | 0.3827 | 0.22236 | 0.17854 | 0.12133 | 0.12979 | 3.5037
16:45 | 42070.6979 | 0.16607 | 0.050293 | 0.095703 | 0.039062 | 9.3135 | 17.5804 | 7.1757 | 63.5735 | 120.0025 | 48.9806 | 145.1443 | 0.1465 | 0.2086 | 0.1885 | 0.2071 | 0.1517 | 0.0241 | 35.1677 | 0.1017 | 0.0916 | 0.0484 | 0.0426 | 0.0209 | 0.0037 | 88.4642 | 0.035938 | 0.093663 | 0.11205 | 0.13168 | 0.10466 | 0.016341 | 0.24229 | 0.6942 | 0.43912 | 0.25676 | 0.2057 | 0.13777 | 0.15353 | 3.544
17:00 | 42070.7083 | 0.1249 | 0.028809 | 0.066406 | 0.022461 | 5.3349 | 12.1986 | 4.126 | 48.6319 | 111.1998 | 37.6117 | 109.5744 | 0.1097 | 0.1552 | 0.1389 | 0.1572 | 0.1181 | 0.016 | 31.2994 | 0.0866 | 0.0803 | 0.0416 | 0.0381 | 0.0186 | 0.0034 | 58.8677 | 0.017324 | 0.056043 | 0.072592 | 0.088954 | 0.074403 | 0.0093925 | 0.28565 | 0.78943 | 0.5174 | 0.2995 | 0.24237 | 0.15749 | 0.2125 | 3.5757
17:15 | 42070.7187 | 0.08333 | 0.013184 | 0.041016 | 0.0078125 | 2.4414 | 7.5344 | 1.4351 | 31.8306 | 98.2326 | 18.711 | 74.5792 | 0.0767 | 0.1056 | 0.0909 | 0.1072 | 0.084 | 0.0091 | 26.3293 | 0.0674 | 0.0677 | 0.0347 | 0.0329 | 0.0166 | 0.0027 | 32.1903 | 0.0060831 | 0.025149 | 0.037182 | 0.049115 | 0.044515 | 0.0042665 | 0.35304 | 0.87875 | 0.6411 | 0.38174 | 0.3069 | 0.19762 | 0.2967 | 3.5984
17:30 | 42070.7292 | 0.04225 | 0.00097656 | 0.013672 | 0.0029297 | 0.18084 | 2.5115 | 0.53817 | 3.8808 | 53.8944 | 11.5488 | 27.5729 | 0.0466 | 0.0557 | 0.0354 | 0.0421 | 0.0291 | 0.0027 | 18.0561 | 0.0462 | 0.0508 | 0.0265 | 0.0265 | 0.0133 | 0.002 | 4.825 | 0.00019858 | 0.0023871 | 0.0044405 | 0.007812 | 0.0078965 | 0.00037603 | 0.65485 | 0.99142 | 0.91203 | 0.74859 | 0.62945 | 0.45704 | 0.74074 | 3.6102
17:45 | 42070.7396 | 0.00497 | 0 | 0.00097656 | 0.00097656 | 0 | 0.17939 | 0.17939 | 0 | 6.9802 | 6.9802 | 10.7012 | 0.0257 | 0.0297 | 0.0155 | 0.0181 | 0.0095 | 0.0015 | 10.6438 | 0.0257 | 0.0297 | 0.0155 | 0.0188 | 0.01 | 0.0015 | 0.0067503 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99464 | 1 | 1 | 1 | 1.0387 | 1.0526 | 1 | 3.6137
18:00 | 42070.75 | -0.05011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
18:15 | 42070.7604 | -0.09397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
18:30 | 42070.7708 | -0.13772 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
18:45 | 42070.7812 | -0.18115 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
19:00 | 42070.7917 | -0.22409 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
19:15 | 42070.8021 | -0.26634 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
19:30 | 42070.8125 | -0.30773 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
19:45 | 42070.8229 | -0.34808 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
20:00 | 42070.8333 | -0.38722 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
20:15 | 42070.8437 | -0.42498 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
20:30 | 42070.8542 | -0.4612 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
20:45 | 42070.8646 | -0.49572 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
21:00 | 42070.875 | -0.52839 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
21:15 | 42070.8854 | -0.55907 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
21:30 | 42070.8958 | -0.58764 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
21:45 | 42070.9062 | -0.61397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
22:00 | 42070.9167 | -0.63794 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
22:15 | 42070.9271 | -0.65946 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
22:30 | 42070.9375 | -0.67842 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
22:45 | 42070.9479 | -0.69476 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
23:00 | 42070.9583 | -0.70839 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
23:15 | 42070.9687 | -0.71927 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
23:30 | 42070.9792 | -0.72734 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152
23:45 | 42070.9896 | -0.73257 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 3.6152